WAHNAPITAE FIRST NATION(WFN)

NEW HOUSING CONSTRUCTION

REQUEST FOR PROPOSAL

For Construction of Three (3) Single- Family Homes

WAHNAPITAE FIRST NATION, BAND OFFICE, CENTRE OF EXCELLENCE 259 TAIGHWENINI TRAIL RD.

OFFICE PHONE: (705) 858-0610

# SECTION 1 - INSTRUCTIONS TO BIDDERS

- GENERAL

Wahnapitae First Nation (WFN) is an Ojibway community located in Northern Ontario. Its traditional name, Wahnapitaeping, means “place where the water is shaped like a tooth.” Wahnapitae First Nation Indian Reserve #11 is accessible by all-season roads from the town of Capreol, 50 km north of Sudbury. About 166 residents live year-round in the

community. The reserve land covers approximately 500 acres of land.

Development has occurred on reserve lands, primarily along the north shore of Lake Wanapitei. There are 68 homes in the community and more than one hundred residential lots. There are approximately 770 registered band members. Citizens elect a Chief and Councilors every four years under Band Custom Election. Wahnapitae First Nation is an expanding community with a growing population. It is working towards meeting the needs of the nation identified in its Community Development Plan, including Economic

Development and Infrastructure.

# Through the support of the Canada Mortgage and Housing Corporation (CMHC),
Wahnapitae First Nation is advancing a Rent-to-Own Housing Program intended to support members in accessing long-term, attainable home ownership within the community.

# PROPOSAL SUBMISSION

- Submission to:

  - Email: leo.deruiter@wahnapitaefn.com

  - Attention: Leo de Ruiter

- Proposals shall be submitted and delivered on or before the April 15th , 2026. Proposals received after the bid close time will be disqualified and returned unopened.

- Proposals shall be submitted with an all-inclusive price or fee which is in Canadian currency and shall reflect the bidder’s total price, including all assessments, levies, and duties, overhead and profit, and/or as per the provided proposal form.

.

- Bid Price EXCLUDES the Harmonized Sales Tax (HST) currently in force. All other taxes are to be included in the price.

- Proposals shall remain open for acceptance by Owner during the bidding time.

- The Owner will not entertain requests for gratuitous payments arising from errors alleged to have been made in any Proposal that has been accepted.

- Bidders finding any discrepancies in, or omissions from the Proposal Documents, or having any doubt as to the meaning or intent of any part thereof, shall at once notify WFN. Neither the Owner nor Consultant will be responsible for verbal instructions. A discrepancy in the contract documents shall not limit the obligation of the Bidder to perform the aggregate of work described by the contract documents.

- WFN shall not, under any circumstances, be responsible for any costs incurred by the bidder in the preparing of its Proposal.

# OPENING PROPOSALS

WFN reserves the right to open the Proposals privately, and all bids will remain

confidential. WFN is not obligated to accept the lowest or any Proposal. Awards shall be made on proposals that will give the greatest value based on quality, service, and price. WFN reserves the right to reject any or all Proposals, including, without limitation, the lowest Proposal, and to award the Contract to whomever the Owner, in its sole and

absolute discretion, deems appropriate, notwithstanding any custom of the trade to the contrary nor anything contained in the Contract Documents or herein.

# INSURANCE AND BONDING

Insurance:

- The Wrap Up General Insurance liability policy referred to will have a total policy amount of $5,000,000.00. The deductible will be $5,000.00.

- The All Risks Property Insurance taken out by the Owner/Construction Manager will be in the amount of the project. The deductible will be $5,000.00.

- The deductible of any insurance coverage will be paid by the firm causing the insurance to come into effect.

- The successful bidder will ensure they have their own Comprehensive General Liability insurance to protect themselves adequately over and above the wrap-up General Liability insurance costs

- The subcontractor will add the name of “WAHNAPITAE FIRST NATION” and The

Owner (information will be determined once the project is awarded) as an additional named insured for the project on their Comprehensive General Liability insurance

policy and will provide Wahnapitae First Nation a copy of this policy rider.

- The Successful bidder to provide current WSIB clearance certificate.

# QUERIES AND ADDENDA

- Bidders finding discrepancies in, or omissions from the drawings, specifications, or other documentation, or are in doubt as to the meaning and intent of any part thereof shall contact:

a. Wahnapitae First Nation Attention: Leo de Ruiter

Email: leo.deruiter@wahnapitaefn.com

- ALL QUESTIONS must be submitted no later than 48 hours before closing. If the question is sent within the 48-hour period before closing, it will not be taken into consideration. All questions during the proposing period must be emailed to the representative noted above.

- When required, written instruction or explanation in the form of Addenda will be issued to Bidders.

- The information contained in the Addenda supersedes and amends the drawings, specifications, and other documents.

# PRODUCT / SYSTEMS OPTIONS

- Where a Bid Document stipulates a product, alternatives may be considered by the Owner, Architect, and the construction manager.

- When a request to substitute a product is made, Owner, Architect, and Others may approve the substitution as an alternative and will issue instructions in an

addendum to the Bidders.

- Where Bidders choose to submit alternatives to products and methods specified, the description of such alternatives shall be entered on the Proposal Form in the

space provided. These alternatives shall not form part of the base bid, unless otherwise noted or are required to be stated within this RFP.

- In submission of alternatives, the Bidders shall include in their proposal, allowances for changes required in the Work to accommodate such alternatives. Later claims by the Bidders for an addition to the Contract Price because of changes in the work necessitated by the use of alternatives shall not be considered.

# SITE EXAMINATION

1. If a site examination will be held (mandatory, or non-mandatory), the WFN representative will advise by way of an Addendum.

# FORM OF CONTRACT

- The successful bidder will be given a letter of intent to proceed with the Work.

- The selected contractor will be required to enter into a formal agreement with Wahnapitae First Nation, outlining the terms and conditions of the project.

Additional administrative requirements, such as insurance coverage, health and safety protocols, and progress reporting, will be specified in the contract. The will be in the form of a CCDC Stipulate Price Contract

# PROJECT SCHEDULE AND COMPLETION DATE

- Bidders must include overtime, shift premium costs, and other related costs (such as temporary enclosures) to guarantee delivery of final onsite acceptance to meet the required completion date.

- The successful Bidder will be required upon contract award to submit a schedule indicating proposed logic, delivery dates of shop drawings, material and equipment, and duration for construction activities, in order to interface with the WFN construction schedule.

- It shall be the responsibility of the selected contractor to ensure that all materials, equipment, manpower, and necessary overtime and shift premiums, travel time, room, and board, etc. are allowed in his bid to meet the scheduled completion dates for his work.

# The Contractor shall demonstrate the ability to meet the proposed schedule. Delays attributable to the Contractor may be subject to further review and potential remedies as outlined in the contract.

# Compliance with Building Codes:

All construction activities under this project must strictly adhere to the National Building Code of Canada (NBC), as well as any local building codes and regulations applicable within the jurisdiction of Wahnapitae First Nation. This includes, but is not limited to, structural integrity, fire safety, electrical installations, plumbing, and accessibility

standards. The units will be heated utilizing electricity, not an alternative heating source unless approved by WFN prior to commencement of construction.

# 10.0 GARBAGE DISPOSAL AND CLEAN UP

- WFN, in complete accordance with guidelines established by the Ministry of the Environment, will implement the following policy on this project, in order to provide a clean, safe, and efficient workplace. All companies and their personnel on site

must cooperate to achieve these objectives. This policy will be clearly posted in the site trailer, and a copy made available to each successful bidder.

- The removal of waste from the work area is the responsibility of the Successful bidder. Should Successful bidder fail to clean up their debris, WFN will, 24 hours after notifying the Successful bidder in writing, proceed with clean-up and back charge accordingly (including a 15% mark-up).

- General Garbage - (i.e., food, papers, dirt, dust, and similar material which may be swept up).

- The Successful bidder is required to pick up and organize the removal of the garbage containers, together with the general clean-up.

# 11.0 SAFETY

- The Successful bidder shall adhere to the Provincial Occupational Health and Safety Act and Regulations (the “Act”). Within the definition and requirements of the Act, WFN shall have full authority over the Successful bidder with respect to safety matters.

- Subcontractors shall provide their own first-aid facilities in accordance with the Act and first aid regulation in accordance with the W.S.I.B. However, for emergency situations, WFN on-site first aid station is located at the main site office.

- Any work required to be done by WFN due to failure to do so on the part of the Subcontractor, shall be charged to the account of the Successful bidder.

- All project-specific safe work practices/procedures intended to be implemented by the Successful bidder shall, prior to starting on site, be submitted for review to WFN safety director and/or Superintendent.

# 12.0 MATERIAL ACCESS, STORAGE, AND HOISTING

Should the Successful bidder require storage space for tools and/or materials shall first check with WFN. In the event that storage is not available, it will be the Successful bidders’ responsibility to arrange and pay for their own storage. The Successful bidder, immediately upon becoming aware, must report verbally, then in writing to WFN all thefts and breaches of project security. Storage containers may be moved as required to maintain ongoing access to the

project and to allow for completion of work. The moving of trailers and storage containers is the Successful bidder’s responsibility.

It shall be the Successful bidder responsibility to inform their employees as to where storage has been made available.

All transporting equipment should have soft rubber wheels to ensure no floor damage. When transporting heavy materials, the floor must be covered with plywood by the respective sub-trade. Access to other premises in the building must be maintained.

All temporary pedestrian access to be maintained adequately lit, clean, clear,

unobstructed, and constructed in accordance with Provincial and Municipal statutory requirements.

# SECTION 2 - SCOPE OF WORK AND REQUIREMENTS

1.0 GENERAL

- Three(3) Single Family Homes are planned to be built within Wahnapitae First Nation. WFN reserves the right to construct the homes concurrently or in phases based on scheduling, funding availability, and contractor performance

- The funding for this project is from CMHC and is fixed based on this amount, which is to complete all scopes of work as described in this document.

- This contract will be a Stipulated Price Contract (CCDC2) as the budget is fixed; we are looking for the best proponent to deliver this project to our community.

- The scope of work within this document must be completed within the Construction Budget; WFN is not responsible for payment above the approved budget in the

Stipulated Price contract

WFN reserves the right to supply certain materials directly. The Contractor shall be responsible for coordination, handling, and installation of any Owner-supplied materials. 
WFN encourages the inclusion of Indigenous labour, subcontractors, and suppliers where possible.

2.0 BASE BUILD REQUIREMENTS

Each home shall include:

- Approx. 1,400 sq. ft.

- 3 bedrooms

- 2 bathrooms

- Electric heat (primary)

- Propane backup heat

- Contractor-grade interior finishes

- Turn-key occupancy readiness (Including appliances)

The Base Build shall represent a complete, turn-key dwelling constructed to contractor-grade standards, exclusive of any optional upgrades.

3.0 CUSTOMIZATION AND UPGRADES

The Contractor shall provide a base build price reflecting contractor-grade finishes.

WFN anticipates that select upgrades may be approved during construction, including but not limited to:

- Kitchen finish upgrades

- Flooring upgrades

- Bathroom upgrades

- Basement Addition

  - Partial or full basement finishing

- Carport addition

All upgrades:

- Must be itemized separately

- Require written approval prior to execution

- Will be issued via Change Order or Contract Amendment

- Shall not alter the Base Contract Price unless approved through a formal Change Order.

WFN reserves the right to limit or decline upgrades to maintain budget, schedule, and program consistency.

Proponents are encouraged to provide unit pricing or allowances for common upgrade items (e.g., flooring, cabinetry, basement finishing) to support evaluation and future change order pricing
WFN reserves the right to construct the homes concurrently or in phases based on scheduling, funding flow, and contractor performance

# Design Requirements

Key considerations include:

- Energy Efficiency: Incorporating energy-efficient features, such as proper insulation, LED lighting, energy-efficient windows, and electric heat systems, to reduce long-term operational costs and environmental impact.

- Sustainability: Use of sustainable, locally-sourced, and durable materials wherever possible to minimize environmental footprint and support the local economy.

- Cultural Considerations: The design should respect the cultural significance and needs of Wahnapitae First Nation, ensuring that the homes integrate harmoniously with the community and the natural surroundings.

- Accessibility: The design should include features that ensure accessibility for all members of the community, including potentialconsiderations for future retrofitting to accommodate aging residents or those with mobility challenges.

Wahnapitae First Nation will be actively involved in the design process. The successful bidder is expected to consult with Wahnapitae First Nation before finalizing any design plans. This ensures that the design meets the community's needs and aligns with Wahnapitae’s cultural values. Additionally, Wahnapitae First Nation should be consulted before the proposal closing date to review and provide feedback on any design prints, ensuring alignment with project goals.

The successful bidder will be required to submit detailed plans that meet these design criteria for approval by Wahnapitae First Nation before proceeding with construction.

The Contractor shall provide a minimum one (1) year warranty on workmanship and materials.

# Section 4 SUBMISSION REQUIREMENTS AND EVALUATION

## Documentation to be submitted on or before closing date:

  - Section 1 – (Company name) - Section 1 – Submission Forms - (date)

- Provide a proposed Construction Schedule for the planned Scope of Work

  - (Company name) – Schedule - (date)

- Project 3 Reference Letters from Clients or Consultants, with project details and each to be for a different project, provide submission in PDF format, labelled:

  - (Company name) – References - (date)

- Provide a letter stating your companies understanding of the scope of work, brief methodology and not limited too.

  - Alternate project options or proposed modifications, if applicable to meet budget or other requirements,

  - Understanding of the scope of work

  - CV’s of key company personnel,

  - And any other relevant information you feel that may be helpful to understand your companies capacity.

  - Submission will be attached in PDF and labelled:

    - (Company name) – Letter of Understanding and Methodology - (date)

## Evaluation:

- All sections will be evaluated based on the following weighted scale

| Category | Weight |
| --- | --- |
| Firm Experience | 10% |
| First Nation Experience | 10% |
| Project Team | 15% |
| Proposal Quality | 15% |
| Schedule & Management | 10% |
| Methodology | 15% |
| Fee Submission | 25% |
| Total | 100% |

- The total for each proponent will be out of 100%, based on the noted weighting.

- Evaluation will be completed by WFN and will be completed by a minimum of three individuals.  The Recommendation after evaluation will go to the Chief & Council for approval.  Only after approval will results be released and shared.

- Note: This Request for Proposal does not represent a call for proposal. Except as expressly and specifically permitted in this RFP, no contractor shall have any claim for compensation of any kind whatsoever as a result of participating in this RFP, and by submitting a proposal, each contractor shall be deemed that it has agreed it has no claim.

# Section 5: COMPANY DETAILS AND FEE SUBMISSION FORMS

Closing Date April 15th , 2026

Closing Time: 2PM

All Documentation due is by email no later than the time and date noted, if the submission is late, it will not be valid for evaluation.

To:

Leo de Ruiter

Wahnapitae First Nation

259 Taighwenini Trail Rd.

Herein referred to as the “Owner".

The UNDERSIGNED, herein referred to as the "CONTRACTOR"

with the legal company name of

a company duly incorporated under the laws of

and having its Head Office at

Section 6 Approval of Additional Construction Expenses:

1. Scope of Work and Proposed Costs: The contractor is expected to carefully review the project's scope of work and provide a comprehensive and accurate cost breakdown in their initial proposal. This cost breakdown should cover all the necessary elements required to successfully complete the helipad construction project, as outlined in the RFP package.

2. Additional Construction Expenses: In the event that unforeseen circumstances or project complexities arise during the construction phase, resulting in significant additional expenses that were not originally outlined in the initial proposal, the contractor must seek approval from Wahnapitae First Nation before proceeding with the incurring expenses.

3. Approval Process:

a. Notification: The contractor shall promptly notify Wahnapitae First Nation in writing of the proposed additional construction expenses, providing a detailed explanation of the unforeseen circumstances or project complexities that necessitate the additional costs.

b. Cost Breakdown: The contractor shall include a comprehensive cost breakdown, specifying the nature and scope of the additional expenses, along with supporting documentation, such as quotations, invoices, or professional assessments, to substantiate the need for the additional costs.

c. Chief and Council Approval: Wahnapitae First Nation's Chief and Council shall review the contractor's request for additional construction expenses. A formal approval or denial will be provided in writing to the contractor.

4. Limits of Contractor Authority: Without prior approval from Wahnapitae First Nation's Chief and Council, the contractor shall not proceed with incurring significant additional construction expenses that exceed the scope and costs outlined in the initial proposal. Any unauthorized expenses will not be reimbursed or considered valid.

5. Contract Amendment: If additional construction expenses are approved by Wahnapitae First Nation's Chief and Council, a contract amendment or change order will be issued, documenting the approved changes in scope and associated costs. The contractor shall not proceed with the approved changes until the contract amendment is executed by all parties involved.

6. Cost Control and Transparency: Throughout the project, the contractor is expected to exercise diligent cost control and transparent communication to prevent or minimize the need for additional construction expenses. Open dialogue between the contractor and Wahnapitae First Nation is encouraged to address any potential issues or changes in a proactive manner.

# APPENDIX A – DRAWINGS AND SUPPORTING DOCUMENTATION

A.1 Drawings

The drawings associated with this Request for Proposal (RFP), including but not limited to architectural plans, layout drawings, and any supporting design documentation, are not included directly within this document.

All drawings have been issued electronically with the RFP email.

Bidders are responsible for reviewing all drawings and supporting documentation provided as part of the RFP package.

A.2 Acknowledgement of Drawings

By submitting a proposal, the Contractor acknowledges that they have:

- Received and reviewed all drawings and supporting documents issued with the RFP email

- Included all relevant requirements from the drawings within their base bid

- Accounted for all necessary materials, labour, and coordination required to complete the project as shown in the drawings

Failure to review the provided drawings will not relieve the Contractor of their obligation to complete the full scope of work.

A.3 Requests for Clarification

Any discrepancies, omissions, or questions related to the drawings must be submitted in writing.

No additional compensation will be considered for misunderstandings resulting from failure to review the issued drawings.